## 1. Benchmark / Task

PTB-XL 数据

| 项目 | 设置 |
| --- | --- |
| Dataset | PTB-XL v1.0.3 |
| ECG records | 21,799 |
| Patients | 18,869 |
| Leads | 12 |
| Original sampling rate | 500 Hz |
| Train (Data split) | folds 1–8，17,418 |
| Validation (Data split) | fold 9，2,183 |
| Test (Data split) | fold 10，2,198 |
| Patient overlap | 0 |

Label spaces：PTB-XL(all) = 71 outputs，PTB-XL(sub) = 23 outputs，PTB-XL(super) = 5 outputs。

三种 granularity 使用相同 ECG signals、相同 train/validation/test split 和相同 2,198 条 test ECG；变化的是 label space，而不是重新抽样。

原作者的三种实验模式

| Table 3 — Finetuning Encoder参与训练，会更新，同时下游的Head是Linear Head，看预训练模型经过任务适配后，最高能做得多好 | Table 4 — Frozen Encoder冻结，下游Head是Learnable-query attention head，看Encoder不变时配上较强的读取器下游任务能到什么程度 | Table 5 — Linear 下游Head是单个Linear Layer，看Encoder的特征处理是否具有良好的线性可分性 |
| --- | --- | --- |

## 2. Official Experimental Protocol

| 项目 | Contract |
| --- | --- |
| Optimizer | AdamW |
| Learning rate | 1e-3 |
| Weight decay | 1e-3 |
| LR schedule | constant |
| Batch size | 64 |
| Epochs | 100 |
| Loss | BCEWithLogits |
| Best checkpoint | highest validation aggregated Macro AUROC |
| Formal test | best checkpoint |
| Main metric | record-level aggregated Macro AUROC |
| Bootstrap | 1000 iterations，95% CI |

Independent mode provenance:

Original pretrained checkpoint

├── Fine-tuning

├── Frozen

└── Linear

保证不同 downstream adaptation strategy 能比较公平

### Record-level aggregated Macro AUROC

假设 PTB-XL 有一条完整 ECG：ecg_id = 12345		10 秒		12 leads

但是 ECGFounder 一次只看：2.5 秒

那 test 时，一条 10 秒 ECG 会得到多个 window predictions：

ECG 12345

0–2.5 s      → 71个概率

2.5–5 s      → 71个概率

5–7.5 s      → 71个概率

7.5–10 s     → 71个概率

论文规定 test 时把 non-overlapping sliding windows 的预测进行平均

4个窗口

↓

每个标签 probability 取平均

↓

ECG 12345 最终得到一个 71维 probability vector

最终每条ECG只有一行

| ecg_id | label1_prob | label2_prob | ...... | label71_prob |
| --- | --- | --- | --- | --- |
| 12345 | 0.91 | 0.03 | ...... | 0.62 |

同时还有它真正的标签：ground truth: [1, 0, 0, ..., 1]

我们保存的就是：ecg_id + 71维 predicted probabilities + 71维 ground truth

Prediction artifact preservation

window-level prediction

record-level aggregated prediction

ground truth target

ECG ID mapping

validation metadata

流程：

prediction

↓

ECG ID（每行预测属于哪个真实 ECG）

↓

aggregation

↓

target consistency（同一个 ECG 的多个 windows 标签必须一致）

↓

saved aggregate

↓

AUROC

↓

Bootstrap CI

## 3. Reproduction Setup

3.1 Model Overview

Foundation Models（8）：ECGFounder、ECG-JEPA、ST-MEM、MERL、ECGFM-KED、HuBERT-ECG、ECG-CPC、ECG-FM。

Supervised baselines（2）：S4、Net1D。两者仅参加 Finetuning / supervised reference，不存在 S4 或 Net1D 的 Frozen / Linear 实验。

Formal matrix：Finetuning = 10 models × 3 granularities = 30；Frozen = 8 Foundation Models × 3 = 24；Linear = 8 Foundation Models × 3 = 24；total = 78 formal experiments。

Finetuning、Frozen 和 Linear 均从 original pretrained checkpoint 独立分叉；Frozen / Linear 不以 Finetuning best checkpoint 为起点。

3.2 Reproduction Governance

项目采用locked-code + evidence-driven reproduction策略

核心原则：

不修改 benchmark scientific protocol；

不通过调参逼近 paper 数值；

Executable authority 固定为 locked commit 238409835ef55358a10bbc3459dfa9aaa91ad5e5；兼容性改动通过独立、可追溯的 execution-remediation routes 表示。

所有结果必须以下四点共同支持

official code；

actual runtime logs；

saved predictions；

provenance artifacts

整个reproduction分为：

Official paper

↓

Locked repository（AI4HealthUOL/ecg-fm-benchmarking）

↓

Formal experiment runs（78个实验无法通过单一运行环境完成，因此采用Common controller和Special execution routes（部分模型需要独立兼容路径））

↓

Formal run

↓

Prediction artifact

↓

ECG-ID mapping（非常严格的一层身份验证：每行预测属于哪个真实 ECG，test set 没丢 ECG、没多 ECG，同一个 ECG 的多个 windows 标签必须一致）

↓

Record aggregation

↓

Target consistency

↓

Bootstrap CI

↓

Final table

A significant detail：Frozen / Linear encoder protection

Frozen / Linear 模式要求：pretrained encoder 不更新

但是 PyTorch / Lightning 中：model.train()

不仅代表训练参数，还会改变模块状态

例如：

BatchNorm—>training mode：更新 running_mean / running_var

即使requires_grad=False，encoder 状态仍可能变化。

解决：

execution-only BN guard：encoder.eval()

保持 frozen encoder：参数不更新，BatchNorm statistics 不更新

## 4. Results

### 4.1 Overall Results

本阶段完成了 PTB-XL 上完整的 78-entry reproduction matrix：

| Mode | Models | PTB-XL tasks | Entries |
| --- | --- | --- | --- |
| Finetuning | 8 Foundation Models + S4 + Net1D | all / sub / super | 30 |
| Frozen | 8 Foundation Models | all / sub / super | 24 |
| Linear | 8 Foundation Models | all / sub / super | 24 |
| Total |  |  | 78 |

### Across all 78 finalized entries，mean |Δ| = 0.008425，median |Δ| = 0.001943，maximum |Δ| = 0.133420。Difference distribution：40/78 have |Δ| < 0.002，58/78 < 0.005，66/78 < 0.010，and 12/78 have |Δ| ≥ 0.010。

### 4.2 Table 3 — Finetuning

4.2.1 Overall Finetuning Reproduction Quality

| Statistic | Value |
| --- | --- |
| Entries | 30 |
| Mean absolute difference | 0.005263 |
| Median absolute difference | 0.002307 |
| Maximum absolute difference | 0.026627 |
| ¦Δ¦ < 0.002 | 14/30 |
| ¦Δ¦ < 0.005 | 22/30 |
| ¦Δ¦ < 0.010 | 26/30 |

因此 Finetuning 总体是三种 evaluation mode 中平均差异最小的一组

4.2.2 PTB-XL(all)

论文和 reproduction 的最高模型均为：

ECG-CPC：0.949 → 0.948953，Δ= −0.000047

这是整个实验中复现程度最高的结果之一

4.2.3 PTB-XL(sub)

最佳结果为：ECGFounder：0.943 → 0.941787

ST-MEM 出现较明显上移：

0.916 → 0.936550，Δ = +0.020550

这使得 ST-MEM 在我们的 ranking 中从论文中的较后位置提升至较高位置

4.2.4 PTB-XL(super)

最佳模型仍为：ECGFounder：0.935 → 0.934994，Δ ≈ −0.000006

78 个实验中最接近 paper reference 的 entry

ECG-CPC 和 S4 也基本保持 paper 中的高性能位置

ST-MEM 再次出现明显偏高：

0.901 → 0.927627，Δ = +0.026627

这是 Finetuning 中最大的 reproduction deviation

#### 4.2.5 Finetuning 的主要观察

ST-MEM 的偏差具有明显的mode-specific consistency：

all: +0.024892

sub: +0.020550

super: +0.026627

### ST-MEM 的三个 Finetuning deviations 呈现 mode-specific pattern：all = +0.024892，sub = +0.020550，super = +0.026627；但现有 evidence 未证明其 root cause。

### ST-MEM required several execution-compatibility fixes before a clean formal run could be completed. These fixes restored the locked implementation’s executability, and clean RETRY_03 successes superseded the earlier failed attempts. However, the larger Finetuning deviation cannot be causally attributed to dependency or runtime remediation based on the available evidence.

### 4.3 Table 4 — Frozen

4.3.1 Overall Frozen Reproduction Quality

| Statistic | Value |
| --- | --- |
| Entries | 24 |
| Mean absolute difference | 0.008234 |
| Median absolute difference | 0.002000 |
| Maximum absolute difference | 0.097321 |
| ¦Δ¦ < 0.002 | 12/24 |
| ¦Δ¦ < 0.005 | 18/24 |
| ¦Δ¦ < 0.010 | 22/24 |

这里 mean 明显高于 median，说明 Frozen 的整体平均误差同样主要被少量 outlier 拉高

4.3.2 PTB-XL(all)

PTB-XL(all) Frozen 是整个 Frozen 中复现最稳定的一组：

mean absolute difference ≈ 0.002236

max absolute difference ≈ 0.005036

多个模型几乎与论文一致

4.3.3 PTB-XL(sub)

最明显例外是：

ECGFM-KED：0.816 → 0.913321，Δ = +0.097321

这是 Frozen 表的最大 deviation

4.3.4 PTB-XL(super)

大多数模型同样接近

但 ECGFM-KED 再次明显高于论文：

0.865 → 0.908671，Δ = +0.043671

#### 4.3.5 Frozen 的主要观察

Frozen 的整体结果不是普遍偏离，而是：

大部分模型高度接近 paper，较大的误差高度集中在 ECGFM-KED 的 sub/super setting

尤其值得注意的是：

ECGFM-KED all Frozen：Δ ≈ +0.0021

ECGFM-KED sub Frozen：Δ ≈ +0.0973

ECGFM-KED super Frozen：Δ ≈ +0.0437

因此该现象明显依赖 label granularity，而不是 ECGFM-KED 在所有 PTB-XL Frozen task 上统一偏移

论文的最高 Frozen(all) 模型为 ECG-JEPA（0.934），而 reproduction 中 ECG-CPC 以 0.933292 略高于 ECG-JEPA 的 0.928964。

因此这里发生了一次小幅 top-ranking interchange，但整体 ranking 仍高度相似

### 4.4 Table 5 — Linear

4.4.1 Overall Linear Reproduction Quality

| Statistic | Value |
| --- | --- |
| Entries | 24 |
| Mean absolute difference | 0.012568 |
| Median absolute difference | 0.001336 |
| Maximum absolute difference | 0.133420 |
| ¦Δ¦ < 0.002 | 14/24 |
| ¦Δ¦ < 0.005 | 18/24 |
| ¦Δ¦ < 0.010 | 18/24 |

这里出现一个非常重要的统计特征：

Linear 的 median absolute difference 是三种 mode 中最低的，但 mean 和 maximum 反而最高。

这意味着：

大多数 Linear reproduction 极其接近 paper，但存在少量非常大的 outlier

4.4.2 PTB-XL(all)

主要 deviation 包括：

ECG-CPC：0.904 → 0.873559，Δ = −0.030441

ECGFM-KED：0.706 → 0.688632，Δ = −0.017368

4.4.3 PTB-XL(sub)

最大的 exception 是：

ECGFM-KED：0.734 → 0.867420，Δ = +0.133420

这是全部 78 个实验中最大的 paper-vs-ours deviation

4.4.4 PTB-XL(super)

ECGFM-KED 再次显著偏高：

0.802 → 0.877109，Δ = +0.075109

#### 4.4.5 Linear 的主要观察

Linear 的大偏差高度集中：

ECGFM-KED all: −0.017368

ECGFM-KED sub: +0.133420

ECGFM-KED super: +0.075109

ECG-CPC all: −0.030441

ECG-CPC: Isolated Linear(all) Negative Deviation

ECG-CPC 大多数结果非常接近 paper

ECG-CPC all: −0.030441

当前 evidence 更支持：

这是一个 task × mode specific discrepancy，而不是 ECG-CPC 模型整体未正确执行

其余大量模型的 difference 接近 10^-3 量级。

因此不能简单说：Linear reproduction 最差

更准确的说法是：Linear 的典型 entry 与 paper 最接近，但少数 model/task-specific outliers 比其他模式更大

## 5. Paper vs Ours Difference Analysis

## 5.1 Dataset-Level Comparison

如果按三个 label granularity 汇总全部 mode：

| Dataset | Entries | Mean ¦Δ¦ | Median ¦Δ¦ | Max ¦Δ¦ |
| --- | --- | --- | --- | --- |
| PTB-XL(all) | 26 | 0.005243 | 0.002031 | 0.030441 |
| PTB-XL(sub) | 26 | 0.012597 | 0.002274 | 0.133420 |
| PTB-XL(super) | 26 | 0.007433 | 0.001651 | 0.075109 |

表面上 sub 的 mean difference 最大。

但是三个 dataset 的 median 都约为：

0.0017–0.0023

因此 sub 的较高 mean 并不意味着整个 sub pipeline 普遍较差，而主要是被：

ECGFM-KED Frozen / Linear的两个大 outlier 拉高

换句话说：

没有证据显示 label granularity 从 all → sub → super 会导致所有模型的 reproduction 一致恶化

## 5.2 Model-Level Reproduction Stability

如果将每个 Foundation Model 在三个 dataset × 三种 mode 的 9 个结果放在一起比较，可以看到明显的 model-specific pattern

最稳定的模型：ECGFounder

9 个 entry 的：

mean absolute difference ≈ 0.000660

maximum absolute difference ≈ 0.001300

说明 ECGFounder 在不同 label granularity 和 downstream mode 下都表现出非常高的 reproduction consistency。

ECG-JEPA

mean absolute difference ≈ 0.001716

max ≈ 0.005036

同样总体稳定

MERL 和 HuBERT-ECG：

mean absolute difference 均约 0.0025

也表现出较好的复现一致性。

中等 model-specific deviations

ECG-CPC：

mean absolute difference ≈ 0.0042

整体稳定，但 PTB-XL(all) Linear 出现 −0.0304 的单一明显 deviation

ECG-FM：

mean absolute difference ≈ 0.0056

主要偏差集中于 Linear all/sub。

最大 model-specific deviations

ST-MEM：

mean absolute difference ≈ 0.0104

主要由三个 Finetuning 结果持续高于 paper 所驱动

ECGFM-KED：

mean absolute difference ≈ 0.0439

明显高于其他模型，并且最大的偏差集中在：

Frozen sub

Frozen super

Linear sub

Linear super

因此整个 78-entry matrix 中较大的 reproduction deviations 并不是随机分散在全部模型，而是高度集中于少数 model-specific execution routes。

## 5.3 Panel-Level Ranking Consistency

除了 AUROC 的绝对值之外，还可以比较模型 ranking 是否得到保留

在 3 modes × 3 datasets 共 9 个 panel 中：

8/9 个 panel 的最佳模型在 paper 和 reproduction 中一致

唯一例外：Frozen(all)

Paper：ECG-JEPA = 0.934，为最高。

Ours：ECG-CPC = 0.933292，为最高；
ECG-JEPA = 0.928964。

但这仍属于局部 ranking interchange，而不是整个 benchmark ranking 被打乱。

## 5.4 Largest Absolute Differences

| Rank | Dataset | Model | Mode | Paper | Ours | Difference |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | sub | ECGFM-KED | Linear | 0.734 | 0.867420 | +0.133420 |
| 2 | sub | ECGFM-KED | Frozen | 0.816 | 0.913321 | +0.097321 |
| 3 | super | ECGFM-KED | Linear | 0.802 | 0.877109 | +0.075109 |
| 4 | super | ECGFM-KED | Frozen | 0.865 | 0.908671 | +0.043671 |
| 5 | all | ECG-CPC | Linear | 0.904 | 0.873559 | −0.030441 |
| 6 | super | ST-MEM | Finetuning | 0.901 | 0.927627 | +0.026627 |
| 7 | all | ST-MEM | Finetuning | 0.908 | 0.932892 | +0.024892 |
| 8 | sub | ST-MEM | Finetuning | 0.916 | 0.936550 | +0.020550 |
| 9 | all | ECGFM-KED | Linear | 0.706 | 0.688632 | −0.017368 |
| 10 | all | ECGFM-KED | Finetuning | 0.889 | 0.904678 | +0.015678 |
| 11 | sub | ECG-FM | Linear | 0.866 | 0.878925 | +0.012925 |
| 12 | all | ECG-FM | Linear | 0.841 | 0.852464 | +0.011464 |

## 6. Implementation Challenges and Scientific Preservation

## 6.1 ST-MEM runtime dependency closure

## The accepted dependency closure covered resampy、scikit-learn、safetensors、fastai、transformers、biosppy、peakutils、hydra-core、omegaconf and antlr4-python3-runtime，together with documented runtime-resampling and optimizer-grouping compatibility patches. The clean RETRY_03 successes superseded prior failed attempts. These actions restored executability only；they are not a proven explanation for the observed Finetuning AUROC deviations.

## 6.2 ECG-CPC compatibility route

## The accepted route used PyKeOps 2.3、NVRTC visibility、CUDA_PATH=/usr/local/cuda-12.4、torch-cu126 NVIDIA runtime precedence in LD_LIBRARY_PATH、FP32 execution and historical checkpoint/dataset path shims. These measures addressed runtime and path portability without redefining the scientific task.

## 6.3 ECG-FM Python 3.9 compatibility overlay

## The accepted overlay used Python 3.9.23、fairseq-signals 1.0.0a0+571a124、torch 2.8.0、Lightning 2.5.5、OmegaConf 2.1.1 and TensorBoard 2.21.0. The formal overlay path was /root/autodl-tmp/ECG/execution_overlays/ecg_fm_py39_compat/ecg-fm-benchmarking；the all-Finetuning route used its separately approved dedicated worktree.

## 6.4 ECG-JEPA identity aggregation adjudication

## For the six affected whole-record routes，each test ECG produced one segment. Mean aggregation of a single segment is the identity operation，so the separately named aggregate equals the original prediction without constituting an overwrite or aliasing error.

## 6.5 MERL / ECGFM-KED execution-only BN guard

## requires_grad=False prevents weight updates but does not by itself freeze BatchNorm state or Dropout behavior after a wrapper enters training mode. Reapplying encoder.eval() kept encoder weights and BatchNorm statistics frozen and kept encoder Dropout in evaluation behavior while the downstream head continued to train. This guard is not a proven cause of the ECGFM-KED outliers.

## 6.6 Infrastructure provenance

## Instance 052 remains the historical execution authority；451 is the read-only clone/evidence carrier for the nine residual special runs. The SUB predecessor context 573 is linked to successor evidence from 780，and the SUPER predecessor context 871 to successor evidence from 775. These relationships preserve rather than collapse instance provenance.

## 6.7 Locked-source qualification

## Executable authority was pinned to commit 238409835ef55358a10bbc3459dfa9aaa91ad5e5，and the observed HEAD matches it. The current local Windows working tree was later found to contain four tracked Python modifications and one tracked deletion，so it is not clean. Forensic review did not prove that formal experiments used this current dirty Windows working tree. Equivalent changes used in formal execution were supported by documented and accepted execution-compatibility remediation routes；no unapproved formal-execution source modification or new scientific-result contradiction was proven. No retraining、reinference、remapping or re-bootstrap is required.

## 7. Prediction-Level Evidence and Reproducibility Validation

## 7.1 Bootstrap Confidence Intervals

Finalized Bootstrap closure：complete = 72，provenance-blocked = 5，failed = 0，mapping-not-eligible = 1。The 72 completed runs used：

1000 iterations

95% CI

ECG record-level Bootstrap，sampling unit = ECG record，N = 2,198（not window rows）

在这 72 条具有 CI 的结果中：

65/72 的 paper point estimate 落在我们 reproduction 的 95% Bootstrap CI 内。

这里需要谨慎解释：

这不是严格的“paper 与 ours 统计等价检验”，因为 paper point estimate 本身也有自己的 sampling uncertainty

但它可以作为 reproduction consistency 的描述性证据

paper point estimate 不落在 ours CI 内的 entry 包括：

| Dataset | Model | Mode | Paper | Ours | Ours 95% CI |
| --- | --- | --- | --- | --- | --- |
| super | ST-MEM | Finetuning | 0.901 | 0.927627 | [0.920875, 0.934488] |
| all | ECG-JEPA | Frozen | 0.934 | 0.928964 | [0.894124, 0.932136] |
| sub | ECGFM-KED | Frozen | 0.816 | 0.913321 | [0.883066, 0.924198] |
| super | ECGFM-KED | Frozen | 0.865 | 0.908671 | [0.900750, 0.916287] |
| all | ECG-CPC | Linear | 0.904 | 0.873559 | [0.844399, 0.878945] |
| sub | ECGFM-KED | Linear | 0.734 | 0.867420 | [0.839034, 0.891690] |
| super | ECGFM-KED | Linear | 0.802 | 0.877109 | [0.867910, 0.885340] |

可以看到，这些条目也与 absolute-difference 分析发现的主要 outliers 高度重合

72 / 78 runs 完成 1000-iteration record-level Bootstrap 并得到 95% CI；

5 runs 保留为 Bootstrap blocker，没有满足要求：必须能够唯一确定“这条 run 的 canonical aggregated prediction 文件 + canonical target 文件”

- PTBXL_ALL_ECGFOUNDER_FINETUNING_FORMAL

- PTBXL_ALL_ECGFOUNDER_LINEAR_FORMAL_RUN_002

- PTBXL_ALL_ECG_CPC_FINETUNING_FORMAL

- PTBXL_ALL_S4_FINETUNING_FORMAL

- PTBXL_ALL_NET1D_FINETUNING_FORMAL

这五条均为 strict mapping PASS，formal AUROC 与 prediction provenance 存在；但历史目录保留多个可能的 artifact / path records。

当前 provenance 不足以唯一指定 canonical aggregate/target pair，因此没有统一 CI。它们不是 model failure、mapping failure、prediction missing 或 Bootstrap computation failure。

## 7.2 Prediction Evidence Chain

本 reproduction 的最终结果不仅依赖一个 AUROC 数值，还建立了 sample/record-level prediction evidence chain：

window-level prediction

↓

canonical ECG ID

↓

target alignment

↓

record-level aggregation

↓

saved aggregate verification

↓

Macro AUROC

↓

Bootstrap CI

因此我们可以验证：

prediction row 属于哪一个 ECG；

同一 ECG 的多个 windows 是否被正确归组；

同一个 ECG 的 target 是否一致；

mean aggregation 是否能够重建保存的 record-level prediction；

Bootstrap 是否真正以 2,198 个 ECG records 而不是 window rows 为采样单位。

这一证据链对于后续 cross-model sample-level error analysis 尤其重要，因为未来可以直接以同一个 ECG ID 比较多个模型的 prediction，而不是比较无法确认身份的匿名 prediction arrays

## 7.3 Strict ECG-ID mapping closure

## Strict mapping status is 77 PASS，1 historical blocker and 0 missing. The sole blocker is PTBXL_ALL_ECGFOUNDER_FROZEN_FORMAL_RUN_001：its historical sidecar records TARGET_GROUP_CONSISTENCY=False，while unique test ECG IDs = 2,198，aggregation reconstruction = PASS and saved aggregate match = PASS. This run is neither mapping PASS nor mapping missing. Its record-level prediction is not automatically invalid，but the highest-grade group-level prediction-to-target provenance is incomplete；sample-level correctness analysis must carry this limitation.

## 7.4 Emergency-worker evidence recovery

## Emergency-worker recovery restored 22/22 formal scientific bundles；22/22 strict mappings passed；88/88 recorded remote-to-local artifact SHA256 pairs matched，with 0 hash failures. This was evidence recovery for existing formal experiments，not an additional experiment.

## 7.5 Training metadata and artifact retention

## Best-checkpoint references were recovered for 78/78 runs. Best epoch was recovered for 50 and not recovered for 28（50/28）；runtime was recovered for 15 and not recovered for 63（15/63）；checkpoint binaries are currently local for 10 and not locally retained for 68（10/68），with 0 unproven status. Formal test use of the best validation checkpoint，traceability of its reference and present-day local retention of the binary are three distinct facts. These gaps are metadata and artifact-retention limitations，not scientific-result failures.

## 7.6 Minimal scientific evidence strategy

## Long-term preservation prioritizes record-level predictions、targets、saved aggregates、ECG-ID mapping、Bootstrap outputs and provenance/hash records. It does not duplicate all 78 checkpoint binaries，full environment caches，all dataset copies or runtime caches. This is an evidence-preservation and storage-scope strategy，not a loss of finalized scientific results.

## 8. Limitations

## 1. One historical strict-mapping blocker remains：PTBXL_ALL_ECGFOUNDER_FROZEN_FORMAL_RUN_001. Record aggregation and the saved aggregate are verified，but TARGET_GROUP_CONSISTENCY=False prevents highest-grade group-level prediction-to-target provenance.

## 2. Five strict-mapping-PASS runs remain Bootstrap provenance-blocked because the historical record does not uniquely identify a canonical aggregate/target pair. They are not failed models or failed Bootstrap computations.

## 3. Best epoch is incomplete for 28/78 runs（50 recovered，28 not recovered）。

## 4. Runtime is incomplete for 63/78 runs（15 recovered，63 not recovered），so strict cross-model computational-efficiency ranking is not supported.

## 5. Checkpoint binaries are currently retained locally for 10/78 runs and not locally retained for 68/78，although best-checkpoint references remain traceable for 78/78.

## 6. The current local locked-repository working tree is not clean：four tracked Python files are modified and one tracked SVG is deleted.

## 7. Formal use of that current dirty Windows working tree was not proven；formal commands instead point to Linux worktrees or compatibility overlays，with accepted remediation provenance retained.

## 8. Formal execution used documented compatibility remediations. These preserve executability and provenance but require the qualified source statement above rather than an absolute claim that every working tree remained pristine.

## 9. Several large paper-vs-ours deviations remain concentrated in ST-MEM Finetuning，ECGFM-KED Frozen/Linear sub/super，ECG-CPC Linear(all) and ECG-FM Linear all/sub. No root cause is proven for these outliers.

9. Takeaway

All 78/78 formal PTB-XL experiments were completed across the 30 Finetuning，24 Frozen and 24 Linear entries.

Most reproduction results closely match the paper，while the largest deviations are concentrated in specific model × mode × granularity settings rather than a global pipeline shift.

Sample-level prediction provenance was substantially validated through ECG-ID mapping，target alignment，record-level aggregation，Bootstrap closure and artifact hashes；the remaining blockers and metadata gaps are explicitly documented.

Execution-compatibility remediations restored runnable formal routes without a proven new scientific-result contradiction. The finalized scientific artifacts do not require recomputation.

The repository handoff can proceed from the finalized versioned evidence only after the remediated report passes its final audit；this report does not claim perfect reproduction，complete identity of all results or a proven explanation for every discrepancy.